## Sheet1
Date | Flow (ft3/sec) | Water Depth (m) | Days Since Last Precip | Air Temp (deg C) | Water Temp (deg C) | Dissolved Oxygen (mg/l) | PH (S.U.) | Secchi Disc (m) | Fecal Coliform (#/100ml) | E. Coli | Specific Conductance (S/cm) | Chloride (mg/l) | Sulfate (mg/l) | Alkalinity (mg/l) | Total Hardness (mg/l) | BOD (mg/l) | Total Suspended Solids (mg/l) | Volatile Suspended Solids (mg/l) | Total Dissolved Solids (mg/l) | Total Organic Carbon (mg/l) | Ammonia as N (mg/l) | Nitrate + Nitrite (mg/l) | Kjeldahl-N | Total Phosphorus (mg/l) | Ortho-Phosphorus (mg/l) | Chlorophyll-a (ug/l) | Pheophytin-a (ug/l) | Total Calcium (mg/l) | Total Magnesium (mg/l) | Total Potassium (mg/l) | Total Sodium (mg/l) | Total Fluoride (mg/l) | Total Silica (mg/l)
1995-07-11 |  |  |  |  | 29.8 | 9.6 | 7.7 | \ | \ |  | 9040 | \ | \ | \ |  |  | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ |  |  |  |  | \
1998-07-29 | DRY |  | > 30
1998-10-27 | 0.3 |  |  |  | 25.5 | 10.4 | 8 | 0.4 | 1000 |  | 5700 | \ | \ | \ |  |  | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ |  |  |  |  | \
1998-12-29 | 0.2 |  | > 7 |  | 13.9 | 15.1 | 7.6 | 0.3 | 280 |  | 23170 | 8390 | 2040 | 218 |  |  | 24 | 5 | 17500 | 1 | 0.05 | 22 | 0.76 | 0.02 | 0.06 | 4.98 | 3.3
1999-01-13 | 0.2 |  |  |  | 16.8 | 15.1 | \ | 0.4 | 940 |  | 25210 | 9030 | 2340 | 184 |  |  | 10 | 4 | 18000 | 1 | 0.05 | 20.8 | 0.37 | 0.05 | 0.11 | 1 | 6.54
1999-04-20 | 0.2 |  |  |  | 23.7 | 4 | 7.6 | \ | 35 |  | 17610 | 5210 | 1380 | 188 |  |  | 89 | 14 | 11400 | 13 | 0.08 | 6.96 | 1.51 | 0.13 | 0.18 | 3.2 | 2.03
1999-10-26 | 0.25 |  |  |  | 19.3 | 8.9 | 8.1 | 0.35 | 1000 |  | 2285 | 513 | 206 | 160 |  |  | 42 | 12 | 1350 | 10 | 0.05 | 1.28 | 1.27 | 0.12 | 0.06 | 17.3 | 1
2000-01-13 | 0.1 |  | 5 |  | 19.4 | 12.4 | 7.4 | 0.5 | 28 |  | 15770 | 2620 | 1460 | 201 |  |  | 17 | 5 | 6530 | 12 | 0.08 | 14.76 | 1.14 | 0.05 | 0.06 | 21.4 | 2.24
2000-11-16 |  | 0.5 | 6 |  | 17.9 | 7.57 | 8.26 | 0.3 | 850 |  | 2071 | 365 | 127 | 176 |  |  | 54 | 9 | 1070 | 8 | 0.06 | < 0.05 | 1.28 | 0.15 | < 0.06 | 34.7 | 9.52 |  |  |  |  | \
2001-01-17 | 0 | 0.6 | 3 |  | 16.86 | 7.9 | 8.6 | 0.3 | 364 |  | 2719 | 491 | 422 | 131 |  |  | 32 | 7 | 1640 | 13 | < 0.05 | 0.15 | 1.58 | 0.15 | < 0.06 | 54.7 | 12.6 |  |  |  |  | \
2001-04-05 | 0 |  | > 7 |  | 26.8 | 4.84 | 8.36 | \ | 272 |  | 7087 | \ | \ | \ |  |  | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ |  |  |  |  | \
2001-07-10 | 0 | 0.3 | > 7 |  | 28.9 | 5.36 | 9.42 | 0.15 | 455 |  | 1333 | 274 | 101 | 141 |  |  | 126 | 16 | 780 | \ | 0.06 | < 0.05 | 1.58 | 0.3 | < 0.06 | 18.9 | < 5 |  |  |  |  | \
2001-11-05 |  | 0.9 | > 7 |  | 23.2 | 5.3 | 8.2 | 0.07 |  | 62 | 613 | 47 | 56 | 194 |  |  | 174 | 25 | 456 | 7 | 0.08 | < 0.05 | 2.01 | 0.39 | < 0.06 | 66.8 | 61.3 |  |  |  |  | 0.4
2002-04-29 |  | > 0.46 | > 7 |  | 28.2 | 6.8 | 7.7 | 0.46 | 13 | 403 | 5300 | 2600 | 816 | 116 |  |  | 28 | 8 | 5730 | 9 | < 0.05 | < 0.05 | 1.45 | 0.12 | < 0.06 | 57 | 65.2 |  |  |  |  | 0.28
2002-10-30 |  | 0.3 | 2 |  | 23.8 | 7.5 | 8.5 | \ |  | 157 | 1354 | 288 | 100 | 130 |  |  | 71 | 10 | 796 | 5 | < 0.05 | < 0.05 | 1.01 | 0.17 | < 0.06 | 21.4 | 59.9 |  |  |  |  | 0.18
2003-04-22 |  | \ | \ |  | \ | \ | \ | \ |  | \ | \ | 2500 | 797 | 98 |  |  | 42 | 23 | 4640 | 39 | 0.1 | < 0.1 | 6.67 | 0.26 | < 0.6 | < 10 | 527 |  |  |  |  | 0.25
2003-10-21 |  | 0.3 | 5 |  | 22.9 | \ | 7.8 | 0.1 |  | 170 | 5510 | 1360 | 384 | 238 |  |  | 118 | 12 | 3180 | 6 | < 0.05 | 1.42 | 1.27 | 0.16 | < 0.12 | < 10 | < 1 |  |  |  |  | 0.23
2004-04-19 |  |  |  |  | 24.6 | 13.4 | 7.6 | > 0.2 |  | 62 | 22300 | 6910 | 1410 | 140 |  |  | 55 | 18 | 15300 | 5 | < 0.05 | 5.6 | 1.68 | 0.12 | < 0.6 | 104 | 5.77 |  |  |  |  | 0.27
2004-10-05 |  | 0.2 | 1 |  | 28.5 | 5.9 | 8 | > 0.2 |  | 199 | 15900 | 4800 | 1130 | 98 |  |  | 43 | 19 | 10300 | 8 | 0.28 | 2.33 | 2.75 | 0.2 |  | 250 | 73.7 |  |  |  |  | 0.23
2005-01-25 |  |  |  |  | 13.8 | 14.1 | 8.19 | 0.1 |  | 594 | 29700 | 9930 | 2190 | 117 |  |  | 57 | 20 | 21800 | 10 | < 0.05 | 11.37 | 2.38 | 0.09 | 0.08 | 434 | < 5 |  |  |  |  | 0.16
2005-04-13 |  |  |  |  | 23.3 | 10.3 | 8.1 | 0.1 |  | 2400 | 32680 | 11400 | 2860 | 116 |  |  | 76 | 24 | 23400 | 6 | 0.18 | 6.58 | 3.4 | 0.15 | 0.11 | 203 | 36.3 |  |  |  |  | 0.25
2005-08-15 |  |  |  |  | 29.6 | 6.4 | 7.12 | 0.3 |  | 1643 | 1600 | 2210 | 714 | 120 |  |  | 44 | 10 | 5140 | 8 | 0.11 | 0.06 | 1.53 | 0.12 | 0.07 | 47.2 | 10.2 |  |  |  |  | 0.21
2005-10-31 |  |  | > 7 |  | 22.1 | 6.2 | 8.1 | 0.2 |  | 140 | 1110 | 161 | 173 | 144 |  |  | 57 | 12 | 708 | 5 | 0.06 | < 0.04 | 1.28 | 0.17 | 0.11 | 157 | 26.5 |  |  |  |  | 0.46
2006-01-24 |  | 0.2 | 2 |  | 13.2 | 9 | 8 | \ |  | 490 | 1500 | 1980 | 815 | 112 |  |  | 18 | 6 | 4530 | 10 | 0.11 | < 0.04 | \ | 0.07 | 0.05 | 24.6 | 6.84 |  |  |  |  | 0.39
2006-04-12 |  |  | > 7 |  | 23.7 | 2.9 | 7.8 | 0.2 |  | \ | 11600 | \ | \ | 110 |  |  | 65 | 27 | 7050 | 16 | < 0.05 | < 0.04 | 2.62 | 0.15 | 0.1 | 108 | \ |  |  |  |  | \
2006-07-25 |  |  | 2 |  | 28.9 | 6.4 | 8.1 | > 0.3 |  | 11198 | 7600 | 2140 | 491 | 109 |  |  | 41 | 10 | 4090 | 14 | 0.13 | < 0.04 | 1.93 | 0.14 | 0.09 | 27.3 | \ |  |  |  |  | < 0.25
2011-04-12 |  | 0.2 | < 7 | 23 | 22.5 | 4.6 | 8.6 | \ |  | 1000 | 1710 | 5200 | 2080 | 196 | 1500 | 30.6 | 30 | 12 | 10200 | 20.3 | 1.12 | 8.72 | 5.04 | 0.349 |  | 56 | 19 | 471 | 79.6 | 40.1 | 3430 | 1.25 | 10.2
2011-05-18 | 11 | 0.2 | > 7 | 24 | 24.2 | 4.2 | \ | \ |  | 2400 | 2100 | \ | \ | \ | \ | \ | \ | \ | \ |  | 3.36 | < 0.05 |  | < 0.06 |  | \ | \ |  |  |  |  | \
2012-02-22 | 11 | 0.18 | > 7 | 21 | 19.7 | 9.9 | 8.1 | \ |  | 550 | 3630 | 691 | 270 | 114 | 332 | 22.8 | 7 | < 4 | 1730 | 14 | < 0.1 | 1.05 | 4.76 | < 0.06 |  | < 3 | < 3 | 104 | 16.9 | 14.3 | 508 | < 0.5 | < 5
2012-04-26 |  | 0.15 | > 7 | 22 | 19 | 7.1 | 8 | 0.15 |  | 1000 | 2870 | \ | \ | \ | \ | \ | \ | \ | 2500 | \ | 1.12 | 3.78 | \ | 0.172 |  | \ | \ |  |  |  |  | \
2012-06-27 | dry
2012-09-27 | dry
2013-02-25 | dry
2013-03-27 | dry
2013-04-25 | dry
2013-06-26 | dry
2013-09-25 | 70.63 | 0.3 | > 7 | 27 | 25.1 | 6.2 | 7.6 | 0.2 |  | 160 | 540 | \ | \ | \ | \ | \ | \ | \ | 218 | \ | \ | \ |  | \ | [7 empty] | \
2014-02-26 | dry
2014-09-10 | dry
2015-02-25 | dry
2015-04-28 | 9 | 0.2 | > 7 | 21.5 | 24.5 | 6.1 | 7.8 | \ | > 60 | 820 | 2480 | \ | \ | \ | \ | \ | \ | \ | 1382 | \ | < 0.1 | 0.57 |  | 0.11 | [7 empty] | \
2015-06-25 | 7 | 0.2 | > 7 | 30 | 30.2 | \ | 8 | 0.2 | > 60 | 280 | \ | \ | \ | \ | \ | \ | \ | \ | 8110 | \ | 0.2 | 3.61 |  | 0.09 | [7 empty] | \
2015-08-26 | 0 | 0.05 | < 7 | 33.3 | 28.8 | 3.2 | 7.5 | \ | > 60 | 4500 | 9370 | \ | \ | \ | \ | \ | \ | \ | 5388 | \ | 0.4 | 0.08 |  | 0.13 | [7 empty] | \
2015-09-22 | dry | 0 | > 7
2016-02-23 | 2 | 0.3 | 2 | 15.6 | 23.3 | 5.2 | 7.9 | \ | > 60 | > 2400 | 1470 | \ | \ | \ | \ | \ | \ | \ | 9860 | \ | 0.1 | 0.24 |  | 0.08 | [7 empty] | \
2016-04-19 | 35 | 0.18 | < 7 | 23.3 | 23.4 | 3.1 | 8.5 | \ | > 60 | \ | 1160 | 225 | 99.1 | 65 | 158.27 | 7.38 | 147.8 | 15.8 | 748 | 8.6 | 0.4 | 1.03 |  | 0.22 |  | 3 | \ | 53.82 | 5.8 | < 10 | 159.86 | 0.15 | 10.1
2016-06-29 |  | 0.3 | > 7 | 38.8 | 29.2 | 3.5 | 7.4 | 0.1 | < 60 | 150 | 2330 | 586 | 172 | 202 | 283.47 | 8.2 | 67 | 10.9 | 1284 | 13.2 | < 0.1 | < 0.05 |  | 0.09 |  | 156 | 24 | 98.04 | 9.39 | 12.7 | 345.66 | 0.3 | 16.9
2016-07-20 | dry |  | 23 | 30
2016-08-30 |  | 0.5 | < 7 | 32 | 29.1 | 1.9 | 7.9 | 0.03 | > 60 | 520 | 3260 | 968 | 296 | 169 | 315.41 | 9.76 | 32 | 5.2 | 2010 | 16.5 | 0.1 | < 0.05 |  | 0.18 |  | 10 | 14 | 104.14 | 13.45 | 12.51 | 568.07 | 0.48 | 3.9
2016-11-14 | dry
2017-01-17 | dry |  |  | 22.2
2017-02-28 | \ | 0.2 | > 7 | 29.6 | 22.5 | 3.6 | 7.6 | 0.1 | > 60 | 70 | 5670 | 1864 | 722 | 130 | 682.87 | 24.3 | 71.8 | 37.7 | 4250 | 32 | < 0.1 | 0.11 | \ | 0.18 | \ | 276 | 60 | 222.63 | 30.83 | 19.82 | 1052.64 | 1.9 | 6.29
2017-04-27 | 0.71 | 0.1 | > 7 | 31 | 24.4 | 2.7 | 8.2 | 0.03 | > 60 | 230 | 1300 | 234 | 72.5 | \ | < 200 | 7.44 | 111.3 | 27.6 | 670 | 7.1 | 0.1 | < 0.05 | \ | 0.08 | \ | 32 | \ | 65.28 | 6.42 | 6.25 | 146.42 | 0.28 | 11.8
2017-06-28 | 0.71 | 0.18 | >7 | 32 | 30.1 | 1.5 | 7.5 | 0.1 | >60 | >24000 | 863 | 219 | 56.6 | 84 | 145.66 | 7.37 | 27.3 | 8.04 | 486 | 13.6 | <0.1 | 0.28 | \ | 0.081 | \ | 22 | \ | 51.22 | 4.3 | 8.89 | 114.87 | 0.243 | 8.76
2017-07-31 | dry |  |  | 30
2017-08-31 | \ | 1 | > 7 | 39.3 | 28.2 | 5.1 | 8 | 0.09 | \ | \ | 925 | Hurricane Harvey closed lab
2017-10-04 | 0.35 | 0.04 | < 7 | 29.8 | 27.8 | 3.8 | 8.1 | 0.03 | 760 | 5200 | 403 | \ | \ | 114 | 133.99 | 8.96 | 67.6 | 13.56 | 364 | 26.4 | 0.2 | 0.38 | \ | 0.17 | \ | 24 | \ | 46.9 | 4.1 | < 10 | \ | 0.348 | 12.6
2017-11-20 | dry |  |  | 13.3
2018-01-15 | dry |  |  | 12.8
2018-02-28 | 0 | 0.019 | < 7 | 25.8 | 22.3 | 6.1 | 9 | 0.02 | > 171 | \ | 753 | 879 | 205 | 112 | 452.2 | 3.37 | 39.8 | 13 | 1768 | 8.7 | < 0.1 | 0.42 | \ | < 0.05 | \ | 61 | 12 | 157 | 14.6 | 12.1 | 471 | 1.17 | 8
2018-04-25 | 0 | 0.4 | > 7 | 24.4 | 22.5 | 4.6 | 8.2 | 0.1 | \ | \ | 940 | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \
2018-08-29 | Standing water, no Flow
2018-09-27 | 636 | 0.5 | < 7 | 26.3 | 25.4 | 6.3 | 7.9 | 0.1 | > 60 | \ | 709 | Cooler arrived late, no analysis
2018-12-17 | \ | \ | \ | 12 | 11 | 10.2 | \ | \ | \ | 253 | 11500 | 3460 | 1050 | 132 | 968 | 3 | 7.55 | 3.94 | 7160 | 2.92 | < 0.1 | 6.94 | \ | 0.13 | \ | 17 | < 3 | 319 | 41.7 | 19.7 | 2250 | < 0.4 | 14.7
2019-02-27 | \ | 0.5 | >7 | 29.4 | 18.9 | 4.9 | 7.4 | 0.1 | \ | 131 | 786 | 3270 | 1150 | 124 | 967 | 3 | 27.7 | \ | 6980 | 3.1 | <0.1 | 1.33 | \ | <.06 |  | 24.4 | 3.58 | 304 | 50.5 | 19.8 | 2210 | <.40 | 4.51
2019-04-23 | \ | 0.5 | >7 | 35 | 23.7 | 2.8 | 8.8 | 0.4 | \ | 105 | 4480 | 1230 | 338 | 126 | 354 | 12 | 16.7 | \ | 2660 | 4.67 | <0.1 | 0.0584 | \ | 0.118 | \ | 42 | \ | 117 | 15 | 12 | 815 | <0.4 | 14
2020-06-24 | [9 empty] | 177 |  | 3670 | 963 | 156 | 1260 | 4 | 46.2 | \ | 7720 | 4.06 | <0.1 | 1.07 | \ | 0.203 | \ | 8.05 | \ | 428 | 45.9 | 26.2 | 2370 | <0.4 | 24.7
Average |  |  |  |  | 22.5917 | 8.1204 | 8.0204 |  | 236.3225 |  |  | 3439.5652 | 972.2609 | [5 empty] | 6924.5385
Standard |  |  |  |  | 33 | . | 6.5 - 9.0 |  | 200 |  |  | 270 | 350 | [5 empty] | 880
Data not QAPP approved
Not in SWQMIS