## Sheet1
Date | Flow (ft3/sec) | Water Depth (m) | Days Since Last Precip | Air Temp (deg C) | Water Temp (deg C) | Dissolved Oxygen (mg/l) | PH (S.U.) | Secchi Disc (m) | Fecal Coliform (#/100ml) | E.Coli | Specific Conductance (S/cm) | Chloride (mg/l) | Sulfate (mg/l) | Alkalinity (mg/l) | Total Hardness (mg/l) | BOD (mg/l) | Total Suspended Solids (mg/l) | Volatile Suspended Solids (mg/l) | Total Dissolved Solids (mg/l) | Total Organic Carbon (mg/l) | Ammonia as N (mg/l) | Nitrate + Nitrite (mg/l) | Kjeldahl-N | Total Phosphorus (mg/l) | Ortho-Phosphorus (mg/l) | Chlorophyll-a (ug/l) | Pheophytin-a (ug/l) | Total Calcium (mg/l) | Total Magnesium (mg/l) | Total Potassium (mg/l) | Total Sodium (mg/l) | Total Fluoride (mg/l) | Total Silica (mg/l)
1999-01-26 | [8 empty] | 230
1999-02-23 | [8 empty] | 80
1999-03-23 | [8 empty] | 20
1999-04-20 | [8 empty] | 40
1999-05-25 | [8 empty] | 240
1999-06-30 | [8 empty] | 110
1999-07-28 | [8 empty] | 170
1999-08-31 | [8 empty] | 60
1999-10-27 | [8 empty] | 440
1999-10-31 | 1995.2789 |  | > 7 |  | 20.1 | 10.42 | 7.76 |  |  |  | 841 | 78 | 123 | 128 | 238 |  | 34 | 5 | 458 | 2 | 0.3 | 0.28 |  | 0.04 | 0.03 | 1 | 4.49
1999-11-16 | [8 empty] | 550
1999-12-14 | [8 empty] | 80
2000-02-22 | [8 empty] | 240
2000-03-28 | [8 empty] | 1100
2000-03-30 |  |  | > 7 |  | 26.12 | 8.31 | 8.26 |  | 2350 |  | 980 | 101 | 164 | 141 |  |  | 56 |  | 584 | 2 | 0.08 | 0.21 |  | 0.1 | < 0.06 | < 1 | < 1
2000-04-25 | [8 empty] | 450
2000-05-23 |  |  | 4 |  | 27.8 | 8.01 | 7.91 |  | 120 |  | 1165
2000-05-26 | [8 empty] | 120
2000-05-31 |  |  | > 7 | 33 | 29.66 | 8.9 | 8.4 |  |  |  | 1220 | 141 | 945 | 128 |  |  | 35 | 6 | 886 | 2 | < 0.05 | < 0.05 |  | 0.05 | < 0.06 | 1.6 | < 1
2000-06-27 | [8 empty] | 90
2000-07-18 | [8 empty] | 80
2000-08-15 | [8 empty] | 170
2000-08-31 |  |  | > 7 | 32 | 29.39 | 8.3 | 8.29 |  | 466 |  | 1162 | 134 | 208 | 115 |  |  | 22 | 3 | 570 | 3 | < 0.05 | < 0.05 |  | 0.06 | < 0.06 | < 1 | 1.14
2000-09-19 | [8 empty] | 1500
2000-10-31 | [8 empty] | 310
2001-01-29 |  |  | > 7 | 13 | 16.18 | 10.18 | 8.22 |  | 340 |  | 890 | [5 empty] | 20 | 3 | 606 | 3 | < 0.02 | < 0.02 |  | < 0.01 | < 0.01 | < 3.3 | < 1
2001-04-29 |  |  | > 7 | 27.5 | 24.63 | 9.21 | 7.78 |  | 680 |  | 1015 | 134 | 213 |  |  |  | 89 | 6 | 596 | 2 | < 0.02 | 0.36 |  | 0.13 | < 0.01 | 4.15 | < 1 |  |  |  |  | 0.7
2001-07-31 |  |  | > 7 | 32 | 29.64 | 11.41 | 8.23 |  | 471 |  | 1026 | 137 | 207 |  |  |  | 61 | 6 |  | 3 | < 0.02 | < 0.02 |  | < 0.01 | 0.13 | < 3.3 | 6.27 |  |  |  |  | 0.74
2001-09-27 |  |  | 5 | 23.5 | 25.39 | 8.44 | 7.73 |  | 2120 | 1752.87 | 961 | 115 | 189 |  |  |  | 43 | < 4 | 604 | 3 | < 0.05 | < 0.05 | 0.46 | 0.1 |  | 6.01 | < 1 |  |  |  |  | 0.57
2002-01-30 | [8 empty] | 3600
2002-02-20 | [8 empty] | 110 | 58.5
2002-03-27 | 1127 | [7 empty] | 180 | 70.8
2002-04-24 | 1167 | [7 empty] | 400 | 139.1
2002-05-21 |  |  |  | 28.5 | 24.26 | 8.71 |  |  | 490 | 106 | 890
2002-05-22 | 3955 | [7 empty] | 390 | 98.4
2002-06-26 | 1642 | [7 empty] | 230 | 23.9
2002-07-25 | 855 |  | > 7 | 34 | 30.7 | 8.73 | 8.23 |  | 1020 | 1413.6 | 788 | 125 | 175 | 137 |  |  | 81 | 10 | 583 | 2.9 | < 0.02 | 0.28 |  | 0.12 | 0.1 | < 10 |  | 74 | 20 | 6.2 | 99 |  | 16.2
2002-07-31 | 763 | [7 empty] | 2600 | 343.3
2002-08-19 | 872 |  | > 7 | 35.6 | 20.3 | 11.35 | 8.38 |  | 680 | 205.1 | 753 | 132 | 169 | 137 |  |  | 55 | 10 | 623 | 2.6 | < 0.02 | 0.12 |  | 0.09 | 0.04 | < 10 |  | 68 | 22 | 5.8 | 110 |  | 13.7
2002-08-28 | 872 | [7 empty] | 800 | 52
2002-09-25 | 597 | [7 empty] | 1020 | 689.3
2002-11-20 | 1310 | [7 empty] | 90 | 113
2002-12-16 | 883 | [7 empty] | 290 | 137
2003-01-30 | 890 | [7 empty] | 600 | 629.4
2003-02-26 | 25 | [7 empty] | 5900 | 960
2003-03-26 | 784 | [7 empty] | 750 | 689.3
2003-04-29
2003-05-28 | 3143 | [7 empty] | 490 | 157.6
2003-06-30 | 1363 | [7 empty] | 43000 | 549.2
2003-07-29 | 1448 | [7 empty] | 10000 | 501.2
2003-07-30 |  | 0.5 | > 7 | 34 | 30.25 | 11.4 | 8.3 |  | 860 | 95.7 | 664 | 83 | 89 | 158 |  |  | 91 | 49 | 476 | 1.4 | 0.4 | 0.06 |  | 0.12 | 0.03 | 6.1 |  | 69 | 12.2 | 3.5 | 43.5 |  | 15.3
2003-08-13 | 1483 | [7 empty] | 640 | 260.2
2003-08-26 |  | 0.5 | 1 | 26.5 | 29.18 | 7.23 | 8.47 |  | 1250 | > 2419 | 825 | 74 | 107 | 129 |  |  | 79 | 10 | 472 | 3.5 | 0.2 | 0.03 |  | 0.12 | 0.07 | < 3 |  | 64 | 15.4 | 4.38 | 82.4 |  | 15.6
2003-09-09 | 1024 | [7 empty] | 2600 | 574.8
2003-10-28 | 1292 | [7 empty] | 1360 | 272.3
2003-11-20 |  | 0.75 | > 7 | 20 | 18.87 | 7.1 | 8.5 |  | 613 | 1203 | 773 | 65 | 101 | 184 |  |  | 4 | < 1 | 432 | 7.1 | 0.23 | 0.16 |  | 0.21 | 0.12 | < 3 |  | 80 | 15 | 8.6 | 56 |  | 8.3
2003-12-09 | 1035 | [7 empty] | 6000 | 913.9
2004-01-13 | 918.2 | [7 empty] | 860 | 396.8
2004-02-10 | 776.92 | [7 empty] | 1050 | 689.3
2004-03-09 | 893 | [7 empty] | 400 | 574.8
2004-04-13 | 5474 | [7 empty] | 4600 | 1986.3
2004-05-18 | 2327.2 | [7 empty] | 2500 | 1046
2004-06-08 | 1144.2 | [7 empty] | 1900 | 152.9
2004-06-30 |  | 1.2 | < 1 | 28 | 28 | 8.5 | 7.9 |  |  | > 2419 | 768 | 57 | 95 | 269 |  |  | 96 | 12 | 338 | 3.3 | 0.46 | 0.49 |  | 0.12 | 0.07 | < 3 |  |  | 15 | 4 | 55 |  | 15.9
2004-07-19 | [8 empty] | 1100 | 157.6
2004-08-19 |  | 1 | > 7 | 35 | 29.4 | 7.9 | 8.2 |  | 193 | 57.1 | 733 | 60 | 106 | 139 |  |  | 45 | 6 | 375 | 3.9 | < 0.02 | 8.8 |  | < 0.05 | 0.05 | < 3 |  | 63 | 13 | 3 | 47 |  | 13.4
2004-08-24 | 1434 | [7 empty] | 340 | 157.6
2004-09-14 | 1508 | [7 empty] | 328.2 | 435.2
2004-09-16 |  | 0.5 | > 7 | 34 | 31.25 | 8.1 | 7.9 |  | 589 | 292 | 670 | 68 | 118 | 150 |  |  | 43 | 13 | 435 | 3.7 | < 0.02 | 4.1 |  | 0.1 | 0.05 | 10 |  | 62 | 13 | 2.8 | 47
2004-11-16 | 1441 | [7 empty] | 290 | 727
2004-12-07 | 1006 | [7 empty] | 380 | 727
2004-12-09 |  | 0.75 | > 7 | 16 | 15.47 | 9.3 | 8.2 |  | 215 | 1299 | 802 | 55 | 98 | 171 |  |  | 30 | 5 | 508 | 3.1 | < 0.02 | 3.6 |  | 0.06 | 0.06 | < 3 |  | 79.4 | 13.2 | 2.6 | 49.2 |  | 13.3
2005-01-13 | 1829 | [7 empty] | 490 | 275.5
2005-03-16 | 4414 | [7 empty] | 850 | 980
2005-04-14 |  | 0.75 | > 7 | 28 | 24.1 | 9.93 | 8 |  | 673.3 | 1203.3 | 911 | 107 | 168 | 130 |  |  | 22 | 4 | 613 | 2.8 |  | 1.2 |  | 0.1 |  | 1.4 |  | 68.9 | 16.4 | 4.71 | 87.2 |  | 7.1
2005-04-19 | 1822 | [7 empty] | 1100 | 547.5
2005-05-10 | 2419 | [7 empty] | 790 | 648.8
2005-05-31 | 939 | 0.75 | > 7 | 30 | 28.4 | 8.5 | 7.9 |  | 980 | 726 | 939 | 103 | 157 | 138 |  |  | 73 | 8 | 626 | 3.1 | 0.4 | 0.27 |  | 0.6 |  | < 0.1 |  | 66.9 | 14 | 4.51 | 72 |  | 15.4
2005-06-09 | 1183 | [7 empty] | 9300 | 1203
2005-07-12 | 1183 | [7 empty] | 920 | 79.6
2005-07-29 |  | 0.75 | > 7 | 30 | 29.53 | 8.8 | 7.98 |  | 3500 | 1990 | 1170 | 105 | 155 | 154 |  |  | 70 | 12 | 510 | 11.5 | < 0.1 | 0.32 |  | 1.96 |  | 8.5 |  |  | 14.75 |  | 98.2 |  | 10
2005-08-09 | 1790 | [7 empty] | 1200 | 32.5
2005-09-13 | 1762 | [7 empty] | 1710 | 1732.87
2005-10-25 | 2048 | [7 empty] | 2070 | 1732.87
2005-11-08 | 2511 | [7 empty] | 640 | 816.4
2005-12-13 | 1896 | [7 empty] | 600 | 866.4
2006-01-10 | 1398 | [7 empty] | 410 | 613.1
2006-02-14 | 1903 | [7 empty] | 410 | 866.4
2006-03-15 | 1826 | [7 empty] | 1090 | 1046.24
2006-04-06 |  | 0.5 | > 7 | 27 | 25.8 | 8.15 | 8.11 |  | 1700 | 1553 | 637 | 98.8 | 156 | 135 |  |  | 45 | 5 | 581 | 3.45 | 0.027 | 0.25 |  | 0.118 |  | 2.22 | < 3.35 | 84.3 | 21.5 | 5.03 | 107 |  | 6.32
2006-04-11 | 1582 | [7 empty] | 1420 | 1299.65
2006-05-23 | 1798 | [7 empty] | 2500 | 920.8
2006-06-13 | 1144 | [7 empty] | 300 | 26.5
2006-07-12 | 978 | [7 empty] | 220 | 148.5
2006-08-07 | 978 | [7 empty] | 1250 | 686.7
2006-10-10 | 858 | [7 empty] | 1210 | 980.4
2006-11-13 | 967.6 | [7 empty] | 960 | 980.4
2006-12-18 | 758 | [7 empty] | 1360 | > 2419.2
2006-12-19 | 922.5 | 0.5 | > 14 | 22 | 19.57 | 9.76 | 8.2 |  | TNTC | > 2419.2 | 754 | 124 | 215 | 132 | 276 | < 2 | 11 | 4 | 698 | 4.71 | 0.093 | 0.379 | 1.4 | 0.144 |  | 2 | 1 | 88.5 | 23.2 | 5.2 | 110 | 0.77 | 11.2
2007-01-29 | 2337 | [8 empty] | 1046.24
2007-02-27 | 890 | [7 empty] | 1120 | 726
2007-03-20 | 735 | [7 empty] | 1340 | 686.7
2007-03-29 | 263 | 0.3 | 3 | 25 | 24.3 | 7.33 | 7.9 |  | 2000 | > 2419.1 | 1118 | 124 | 217 | 142 | 316 | < 2 | 49 | 12 | 683 | 3.1 | 0.068 | 6.16 | 1.31 | 0.29 |  | 5 | < 3 | 88.9 | 22.5 | 5 | 110 | 0.612 | 17.2
2007-04-12 | 858 | [7 empty] | 1290 | 928.8
2007-05-31 |  | 0.75 | 1 | 32 | 28.1 | 11 | 7.8 |  | 1300 | 690 | 831 | 101 | 151 | 158 | 312 | < 2 |  | 19 | 553 | 3.05 | 0.049 | 2.86 | 1.69 | 0.135 |  | < 5 | < 3 | 88.6 | 18.8 | 5.82 | 89.6 | 0.456 | 26.4
2007-06-12 | 2027 | [7 empty] | 320 | 210
2007-07-12 | 7557 | [7 empty] | 1100 | 390
2007-07-19 |  | 11 | < 1 | 25.5 | 27.3 | 7.5 | 8.1 |  | 4000 | > 2400 | 872 | 100 | 156 | 122 | 284 |  | 77 | 15 | 649 | 2.72 | 0.04 | 0.248 | 0.656 |  |  | < 5 | < 3 | 86.6 | 18 | 4.01 | 82.7 | 0.507 | 17.3
2007-08-21 | 7451 | [7 empty] | 155.3 | 240
2007-09-13 | 7487 | [7 empty] | 1400 | 488.4
2007-10-23 | 1536 | [7 empty] | 680 | 770.1
2007-11-14 | 2027 | [7 empty] | 1000 | 648.8
11/29/2007 |  | 1 | > 7 | 15 | 14.8 | 7.6 | 8.1 |  | 1750 | > 2419.2 | 565 | 100 | 166 | 145 | 326 | < 2 | 16 | < 2 | 586 | 2.21 | < 0.1 | 0.352 |  | 0.089 |  | < 3 | < 3 | 93.1 | 22.6 | 3.95 | 90.2 | 0.538 | 13.3
2007-12-18 | [9 empty] | 2419
2008-01-15 | 1413 | [7 empty] | 2990 | 1986.28
2008-02-12 | 1119 | [8 empty] | 1732.87
03/17/2008 |  | 1 | > 7 | 26 | 22.3 | 8.8 | 8 |  | 486 | 365.4 | 917 | 111 | 187 | 138 | 296 | < 2 | 16 | 3 | 568 | 2.31 | < 0.1 | 0.171 |  | 0.087 |  | < 3 | < 3 | 80.8 | 22.8 | 4.66 | 92.2 | 0.497 | < 10
2008-03-17 | 883 | [8 empty] | 770.1
2008-04-30 | 9041 | [8 empty] | 1816.4
2008-05-13 | 1550 | [8 empty] | 1986.28
05/29/2008 |  | 0.5 | > 7 | 24 | 27.7 | 7.3 | 8.4 |  | 3560 |  | 1100 | 127 | 199 | 136 | 294 | < 2 | 18 | 5 | 691 | 2.47 | < 0.1 | 0.102 |  | 0.059 |  | 12 | < 3 | 81 | 22.2 | 4.9 | 133 | 0.571 | 10.7
2008-06-10 | 1522 | [8 empty] | 107.7
07/15/2008 | 1598 | 1 | > 7 | 29.5 | 30.7 | 7.3 | 8.4 |  | 285.7 | 22.6 | 997 | 124 | 189 | 120 | 293 | < 2 | 20 | 24 | 623 | 2.16 | < 0.1 | < 0.04 |  | 0.099 |  | < 3 | < 3 | 81.3 | 21.8 | 4.84 | 125 | 0.543 | 18.2
2008-07-15 | 1610 | [8 empty] | 84.2
2008-08-12 | 929 | [8 empty] | 66.9
11/20/2008 | 2503 | 0.75 | > 7 | 24 | 16.7 | 10.2 | 8.3 |  | 710 | 600 | 800 | 71.8 | 142 |  | 241 | < 2 | 3 | < 2 | 787 | 3.06 | < 0.1 |  |  | < 0.05 |  | < 3 | < 3 | 72.3 | 14.7 | 3.85 | 73.8 | 0.54
2008-11-20 | 2532 | [8 empty] | 648.8
2008-12-09 | 1663 | [8 empty] | 344.8
12/18/2008 |  | 0.75 | > 7 | 14 | 13.2 | 10.2 | 8.1 |  | 27.4 |  | 796 | 69 | 130 | 128 | 231 | < 2 | < 2 | < 2 | 430 | 3.09 | < 0.1 | 0.173 |  | < 0.05 |  | < 3 | < 3 | 68.6 | 14.4 | 3.38 | 69.7 | 0.486 | 1.85
2009-01-28 | 1098 | [8 empty] | 1083.25
2009-02-18 | 996 | [8 empty] | 1986.28
2009-03-16 | 2300 | 1 | > 7 | 18 | 16.2 |  | 7.6 |  | 2100 | > 2429.2 | 997 | 94 | 186 | 146 | 267 | < 2 | 16 | 2 | 569 | 3.37 | 0.131 | 0.52 |  | 0.103 |  | 3 | < 3 | 79.9 | 16.3 | 4.21 | 85.3 | 0.571 | 8.75
2009-03-23 | 943 |  |  | 26.6 | 22.7 |  |  |  |  | 2419.2 | 860
2009-04-15 | 1218 |  |  | 25.6 | 22.3 |  |  |  |  | 770.1 | 890
2009-05-21 | 3637 | 0.75 | 5 | 26 | 24.4 | 6.9 | 7.6 |  | 1333 | 1119.5 | 1000 | 107 | 201 | 134 | 292 | < 2 | 93 | 13 | 574 | 3.63 | < 0.1 | 0.34 |  | 0.11 |  | 5 | < 3 | 88.3 | 17.4 | 5.22 | 94.4 | 0.698 | 19.7
2009-06-22 | 2581.5 |  |  | 87 | 28.2 |  |  |  |  | 228.2 | 1040
2009-07-13 | 1935 | 1 | > 7 | 33.1 | 30.8 | 8.4 | 8.2 |  | 500 | 131 | 903 | 108 | 187 | 116 | 241 | < 2 | 42 | 8 | 598 | 4.03 | < 0.1 | 0.086 |  | 0.123 |  | 9 | < 3 | 69.2 | 16.6 | 4.84 | 97.6 | 0.673 | 16.9
2009-07-14 | 1394.9 |  |  | 31 | 28.9 |  |  |  |  | 461.1 | 1040
2009-08-18 |  |  |  | 30.9 | 28.8 | [5 empty] | 1060
2009-09-22 | 27 |  |  | 28.3 | 28.4 |  |  |  |  | 1410 | 1040
2009-10-29 | 23 |  |  | 27.5 | 23.1 |  |  |  | 860 | 1730 | 920
2009-11-12 | 1484 | 0.5 | > 7 | 22 | 20.6 | 8.5 | 8.1 |  |  |  | 895 | 117 | 197 | 137 | 310 |  | 35 | 4 | 604 | 3.31 | < 0.1 | 0.25 |  | 0.101 |  |  |  | 88.7 | 21.4 | 5.02 | 104 | 0.648 | 13.1
2009-11-24 | 23 |  |  | 18.9 | 17.9 |  |  |  | 1650 | 2420 | 861
2010-01-25 | 27 |  |  | 20.1 | 15.7 |  |  |  | 1550 | 5 | 800
2010-02-25 | 1218 |  |  | 23.9 | 14.7 |  |  |  | 590 | 1550 | 780
2010-03-15 | 1107 | 0.75 | > 7 | 22 | 18.2 | 8.4 | 8 |  | 1440 | 580 | 891 | 116 | 219 | 141 | 307 | < 2 | 93 | 12 | 1500 | 3.19 | 0.107 | 0.171 |  | 0.124 |  | < 3 | < 3 | 89.2 | 20.6 | 5.75 | 111 | 0.687 | 17.7
2010-03-23 | 1003 |  |  | 20.6 | 17.6 |  |  |  | 1100 | 1700 | 900
2010-04-01 | 964 |  |  | 21 | 21.1 |  |  |  | 1200 | > 2400 | 953
2010-05-11 | 1607 |  |  | 26.7 | 26.6 |  |  |  | 730 | 1600 | 984
2010-05-25 | 1720 | 0.75 | 7 | 23 | 26.6 | 6.9 | 8.2 |  | 5100 | 1400 | 756 | 69.6 | 131 | 129 | 245 | < 2 | 54 | 8 | 478 | 2.78 | < 0.1 | 0.747 |  | 0.145 |  | 5 | 5 | 75.8 | 13.7 | 4.26 | 68.5 | 0.452 | 14.6
2010-06-15 | 4873 |  |  | 27 | 27.5 |  |  |  | 860 | > 2400 | 818
2010-08-23 | 4591 |  |  | 29 | 28.7 |  |  |  | 580 | 1046 | 982
2010-09-16 | 2253 | 1 | 5 | 31 | 30 | 7.4 | 8.3 |  | 733.3 | 170 | 820 | 61.5 | 114 | 141 | 284 | < 2 | 68 | 9 | 485 | 2.33 | < 0.1 | 0.711 |  | 0.11 |  | 6 | < 3 | 89.2 | 14.8 | 3.32 | 74.5 | 0.399 | 20.1
2010-10-18 | 5580 |  |  | 24.7 | 23.3 |  |  |  | 990 | 870 | 733
2010-11-22 | 1940 |  |  | 22 | 20.5 |  |  |  | 1200 | 440 | 741
2010-12-13 | 1550 |  |  | 10.6 | 13 |  |  |  | 850 | 410 | 614
2011-01-19 | 1700 |  |  | 12.2 | 14.1 |  |  |  | 4700 | 2000 | 727
2011-02-28 | 1098 |  |  | 22.8 | 20.8 |  |  |  | 2100 | 2400 | 835
2011-03-24 | 858 | 0.75 | > 7 | 28 | 24.7 | 8.4 | 7.8 |  | 1100 | 430 | 923 | 110 | 184 | 140 | 276 | 6.85 | 23 | 5 | 554 | 4.32 | 1.4 | 1 | 5.32 | 0.092 |  | < 3 | < 3 | 79.7 | 18.4 | 2.81 | 85.2 | 0.654 | < 5
2011-04-04 | 819 |  |  |  | 26.1 |  |  |  | 3500 | 2400 | 975
2011-05-19 |  |  | 4 |  | 26.8 | 7.4 | 8.1 |  | 3000 | 2400 | 986
2011-05-24
2011-05-25 |  | 1 | > 7 | 33 | 29.3 | 7 | 8.3 |  | 106.7 | 460 | 1030 | 171 | 185 | 112 | 246 | 3.98 | 21 | 12 | 650 | 2.89 | 0.56 | < 0.05 | 3.36 | 0.166 |  | < 3 | < 3 | 65.9 | 19.2 | 4 | 81.6 | 0.731 | < 5.0
2011-06-28 | 29 |  |  | 30.6 | 29 |  |  |  | 1000 | 1400 | 1060
2011-07-21 | 31 |  |  | 26.6 | 28.2 |  |  |  | 1400 | 1300 | 1100
2011-08-04 |  | 0.5 | > 7 | 35 | 33.2 | 7.2 | 7.5 |  | 265.5 | 150 | 1060 | 181 | 168 | 156 | 230 | 7.1 | 41 | < 4.0 | 670 | 4.01 | 0.28 | 0.508 | < 0.2 | 0.222 |  | < 3 | < 3 | 64.4 | 16.6 | 4.72 | 85.1 | 1.01 | < 5.0
2011-08-15 | 2324 |  | 4 |  | 29.6 | 6.2 | 8.2 |  | 4100 | 2600 | 991
2011-08-16 | 46 |  |  | 26.6 | 28.6 |  |  |  | 1900 | 980 | 1060
2011-09-26 | 2190 | [7 empty] | 790 | 1700
10/11/2011 | 4556 |  | 2 | 21.7 | 23 |  |  |  | 4000 | 1300 | 634
2011-11-17 |  | 0.8 | > 90 | 15 | 18.4 | 8 | 8.2 |  | 2530 | 960 | 850 | 141 | 136 | 110 | 300 | < 2 | 55 | 9 | 657 | < 2.0 | 0.84 | 18.4 | < 0.05 | < 0.06 |  | < 3 | < 3 | 87.9 | 19.8 | 5.55 | 117 | < 0.5 | < 5.0
2011-11-22 | 1586 |  |  | 25.6 | 21.8 |  |  |  | 1100 | 2400 | 835
2011-12-08 |  |  |  | 12.2 | 12.2 |  |  |  | 960 | 2000 | 759
2012-01-24 | 221 |  |  | 18.3 | 15.7 |  |  |  | 950 | 2000 | 814
2012-02-29 | 5262 |  |  | 22.8 | 18.5 |  |  |  | 1100 | > 2400 | 864
2012-03-12 | 5685 | 0.75 | > 14 | 23 | 14.5 | 10.2 | 8.5 |  |  | 400 | 770 | 120 | 194 | 110 | 356 | < 2 | < 4 | < 4.0 | 600 | < 2.0 | 0.84 | 0.5 | 4.2 | 0.3 |  | < 3 | < 3 | 97.9 | 29.1 | 4.59 | 118 | 0.85 | < 5.0
2012-03-19 | 1723 |  |  | 23.9 | 22.1 |  |  |  | 1700 | > 2400 | 939
2012-04-12 | 1420 |  |  | 22.2 | 24.7 |  |  |  | 1900 | > 2400 | 979
2012-05-22 | 2240 | 0.75 | > 7 | 31 | 23.9 | 7.1 | 8 |  | 220 | 207.5 | 940
2012-05-29 |  |  |  | 28.9 | 26.9 |  |  |  | 740 | 490 | 1030
2012-06-21 |  |  |  | 28.9 | 27.3 |  |  |  | 1100 | 1100 | 1180
2012-07-16 |  |  |  | 27.8 | 28.5 |  |  |  | 1900 | 980 | 103
2012-08-07 | 444 | 0.5 | > 14 | 37 | 29.1 | 6.9 | 8.1 |  | 173 | *93 | 1100 | 97 | 169 | 131 |  |  | 56 |  |  | 4 | < 0.05 | < 0.04 | 0.36 | 0.06 |  | 11.5 | [5 empty] | 0.72
2012-08-21 |  |  |  | 27.2 | 28.4 |  |  |  | 1700 | 440 | 1080
2012-09-24 | 4591 |  |  |  | 26.7 |  |  |  | 390 | 1203 | 1060
2012-11-15 | 1150.4 | 0.75 | >21 | 18 | 15 | 9.5 |  |  | 1550 | > 2419.5 | 796
2012-11-27 |  |  |  | 15 | 18.6 |  |  |  | lab err. | > 2400 | 880
2012-12-13 |  |  |  | 13.9 | 14.6 |  |  |  | 1800 | > 2400 | 823
2013-01-16 |  |  |  | 6 | 11.7 |  |  |  | 1770 | > 2400 | 773
2013-03-19 |  |  |  | 21.1 | 22.2 |  |  |  | 2000 | > 2400 | 987
2013-04-30 |  |  |  | 22 | 22.3 |  |  |  | 3300 | > 2400 | 967
2013-05-30 | 1200.71 |  |  | 27.8 | 26.4 |  |  |  | 340 | > 2400 | 630
2013-06-26 |  |  |  | 31 | 28.3 |  |  |  | 200 | 250 | 999
2013-07-23 |  |  |  | 27.8 | 28.8 |  |  |  | 1900 | > 2400 | 1160
2013-07-24 |  | 0.5 | 3 | 32 | 26.9 | 6.1 | 7.8 |  | 842 | 580 | 1080 | 108 | 196 | 118 | 296 | < 2 | 68.5 |  | 606 | 2.7 | [5 empty] | < 3 | < 3 | 78.8 | 24 | 5.45 | 106 | < 0.2 | 17.3
2013-09-26 |  |  |  | 27.8 | 26.4 |  |  |  | 420 | 1400 | 507
2013-10-30 | 2.048 |  |  | 25 | 24.5 |  |  |  | 2800 | > 2400 | 846
2013-11-21 | 2.55 | 0.5 | > 14 | 23 | 18.7 | 8 | 8.1 |  | 500 | > 2419.2 | 686 | 63.3 | 186 | 160 | 249 | < 2 | 15.4 | 4.8 | 416 | 2.7 | 0.1 | 1.61 |  | < 0.05 |  | 6 | < 3 | 74.54 | 15.25 | 3.62 | 66.24 | 0.437 | 10.2
2014-01-14 | 1433.79 |  |  | 11.7 | 13.1 |  |  |  | 2500 | > 2400 | 645
2014-02-26 | 1194 |  |  | 13.3 | 19.4 |  |  |  | 5600 | > 2400 | 797
2014-03-20 | 706 | 0.5 | > 30 | 19.5 | 16.4 | 8.4 | 8.1 |  | 270 | 250 | 828 | 82 | 216 | 144 | 268 | < 2 | 13.3 | < 2.5 | 642 | 2.7 | 0.2 | 0.61 |  | 0.07 |  | < 3 | < 3 | 76.8 | 18.6 | 4.8 | 96.1 | 0.723 | 3.98
2014-03-26 | 706 |  |  | 17.2 | 19 |  |  |  | 4600 | > 2400 | 886
2014-04-29 | 5149 |  | < 30 | 29.4 | 23.5 |  |  |  | 300 | 816 | 943
2014-05-20 | 802 |  | < 30 | 22.8 | 23.8 |  |  |  | 1800 | > 2400 | 989
2014-06-04 | 763 | 0.4 | 12 | 24 | 26.7 | 7.3 | 8.4 |  | 353 | 148 | 629 | 57.4 | 129 | 106 | 180.6 | 2.15 | 85.1 | 4.5 | 358 | 3.2 | 0.1 | 0.45 |  | 0.0854 |  | 17 | 9 | 54.32 | 10.93 | 4.93 | 47.23 | 0.512 | 13.6
2014-06-30 | 1240 |  | < 30 | 28.9 | 27.6 |  |  |  | > 2400 | 1300 | 928
2014-07-28 | 593 |  | < 30 | 28.3 | 28.5 |  |  |  | 1200 | 870 | 1070
2014-07-29 | 507 | 0.3 | 10 | 29 | 31.1 | 6.7 | 8.4 |  | 195.6 | 236 | 1150 | 114 | 213 | 126 | 256 | < 2 | 31.7 | 2.7 | 754 | 3 | 0.1 | 0.18 |  | 0.14 |  | 18 | < 3 | 70.54 | 19.41 | 4.564 | 96.54 | < 0.1 | 12.5
2014-08-19 |  |  | < 30 | 30 | 28.3 |  |  |  | 500 | 870 | 1110
2014-09-16 |  |  | < 30 | 28.9 | 26.7 |  |  |  | 8200 | 1600 | 989
2014-11-18 |  |  | < 30 | 7.8 | 11.3 |  |  |  | 6100 | 2000 | 533
2014-11-19 | 2119 | 0.4 | 8 | 11 | 12.4 | 10.7 | 8.3 |  | 550 | 500 | 546 | 67 | 135 | 154 | 259.3 | 6.64 | 63.2 | 5.1 | 492 | 3 | < 0.1 | 0.71 |  | 0.0713 |  | < 3 | < 3 | 80.7 | 14.03 | 3.42 | 60.34 | 0.373 | 14.2
2015-12-17 |  |  |  | 13.9 | 16.8 |  |  |  | 12000 | 15000 | 788
2015-01-20 | 1120 |  | < 30 | 15.6 | 13.4 |  |  |  | 2300 | 15000 | 722
2015-02-18 | 1183 |  | < 30 | 10.6 | 15 |  |  |  | 1300 | 8800 | 845
2015-03-16 | 1158 |  | < 30 | 18.3 | 19.2 |  |  |  | 2900 | 15000 | 961
2015-03-25 | 700 | 0.5 | 5 | 22 | 22.6 | 7.6 | 8.1 |  | TNTC | 961 | 1070 | 219 | 294 | 144 | 328.07 | < 2 | 30.7 | < 2.5 | 692 | 3 | 0.1 | 0.74 |  | 0.16 |  | 4 | < 3 | 91.79 | 24.01 | 5.59 | 115.98 | 0.68 | 9.63
2015-04-20 |  |  | < 30 | 19.4 | 23.9 |  |  |  | 4700 | 11000 | 1120
2015-05-15 | 3885 | 1 | 4 | 23 | 26.6 | 6.6 | 7.8 |  | TNTC | 1840 | 714 | 72.6 | 158 | 124 | 286.08 | < 2 | 202.2 | 13.9 | 446 | 5.3 | < 0.1 | 2.43 |  | 0.17 |  | < 3 | 19 | 91.71 | 13.86 | 6.95 | 63.55 | 0.35 | 10.3
2015-05-26 | 2412 |  | < 30 | 27.2 | 27.6 |  |  |  | 3500 | 8600 | 947
2015-06-23 | 2592 |  | < 30 | 26.7 | 26.8 |  |  |  | 8900 | 21000 | 780
2015-07-22 | 706 | 0.5 | 31 | 29 | 29.7 | 7.3 | 8.2 |  | 273 | 548 | 1120 | 129 | 205 | 130 | 131.94 | < 2 | 49.6 | 3.1 | 726 | 3.2 | 0.2 | 0.19 |  | 0.08 |  | 15 | < 3 | 91.47 | 20.75 | 5.06 | 102.1 | 0.66 | 14.2
2015-07-27 | 728 |  | < 30 | 30.6 | 29.8 |  |  |  | 270 | 7500 | 1160
2015-08-25 | 890 |  | < 30 | 28.9 | 29.6 |  |  |  | 390 |  | 1120
2015-09-29 | 826 |  |  | 24.4 | 27.4 |  |  |  | 880 | 2900 | 1130
2015-10-27 | 1978 |  |  | 18.9 | 21 |  |  |  | 3800 | 7900 | 893
2015-11-16 | 1278 |  | < 30 | 23.3 | 21.3 |  |  |  | 4900 | 12000 | 959
2105-11-18 | 1260 | 0.75 | 38 | 16 | 18.8 | 8.6 | 8 |  | 733.3 | 280 | 910 | 117 | 140 | 140 | 305.35 | 60.8 | 42.7 | 2.6 | 590 | 2.6 | < 0.1 | 1.1 |  | 0.09 |  | 3 | < 3 | 89.6 | 19.82 | 4.16 | 96.65 | 0.59 | 12.5
2015-12-08 | 1187 |  | < 30 | 15.6 | 15.8 |  |  |  | 1200 | 9300 | 913
2016-01-19 | 1069 |  | < 30 |  | 14.7 |  |  |  | 1100 | 8900 | 892
2016-02-16 | 590 |  | < 30 | 22.8 | 18.3 |  |  |  | 680 | 6200 | 1030
2016-03-15 | 1250 |  | < 30 | 21.7 | 22.2 |  |  |  | 3900 | 13010 | 1110
2016-03-29 | 810 | 0.6 | 18 | 19 | 21.1 | 7.6 | 8 |  | TNTC | 4600 | 1110 | 153 | 287 | 154 | 373.75 | 2.26 | 104.8 | 3.8 | 714 | 3 | 0.3 | 0.58 |  | 0.12 |  | 11 | 11 | 109.9 | 24.12 | 5.19 | 123.59 | 0.68 | 9.43
2016-04-20 | 1224 |  | > 30 | 26.1 | 24.7 |  |  |  | 2800 | 93000 | 779
2016-05-23 | 1085 |  |  | 27.8 | 27.2 |  |  |  | 51000 | 13000 | 1220
2016-05-24 | 875 | 0.5 | 7 | 24 | 27.1 | 7 | 8.2 |  | TNTC | 6867 | 1190 | 133 | 205 | 136 | 305.87 | 3.03 | 55.6 | < 2.5 | 778 | 3.1 | 0.1 | 1.39 |  | < 0.05 |  | 15 | 14 | 85.88 | 22.2 | 5.57 | 112.5 | 0.61 | 10.9
2016-06-13 | 399 |  | < 30 | 30 | 29.5 |  |  |  | 800 | 3600 | 1140
2016-07-18 | 417 |  | < 30 | 31.7 | 28.8 |  |  |  | 480 | 7500 | 1320
2016-07-26 | 560 | 0.4 | > 14 | 31 | 31.6 | 5.7 | 8.2 |  | 246.7 | 19 | 1320 | 170 | 258 | 172 | 358.2 | 2.93 | 44.2 | 4.07 | 904 | 3.6 | 0.2 | 0.08 |  | < 0.05 |  | 13 | 12 | 96.63 | 28.39 | 6.5 | 167.73 | 0.58 | 33.7
2016-08-30 | 1448 |  | < 30 | 27.2 | 29.3 |  |  |  | 900 | 5600 | 813
2016-09-27 | no samples collected
2016-10-18 | 1593 |  | < 30 | 27.2 | 26.5 |  |  |  | 880 | 31000
2016-11-17 | 1645 | 0.3 | 10 | 26.3 | 21.3 | 8.3 | 8.3 |  | TNTC | 1400 | 902 | 175 | 164 | 174 | 322.3 | < 2 | 69.7 | 2.73 | 658 | 2.31 | 0.2 | 1.02 |  | < 0.05 |  | 7 |  | 98.87 | 18.32 | 3.58 | 57.64 | 0.71 | 16.28
2016-11-29 | 1547 |  | < 30 | 17.8 | 19.6 |  |  |  | 1300 |  | 910
2016-12-19 | 1752 |  | < 30 | 35 | 12.5 |  |  |  | 1700 | 7900 | 709
2017-01-17 | 7769 |  | < 30 | 21.7 | 18.5 |  |  |  | 11000 | 4300 | 1030
2017-02-23 | 1614 |  | < 30 | 24.4 | 19.5 |  |  |  | 4700 | 12000 | 1150
2017-03-16 | 1766 | 0.2 | 7 | 21.9 | 20.3 | 8.3 | 8 | \ | TNTC | 3100 | 1180 | 144 | 276 | 166 | 336.32 | < 2 | 68.2 | 12.08 | 690 | 1.6 | 0.1 | 0.83 | \ | \ | \ | < 3 | 19 | 97.02 | 22.84 | 4.83 | 104.73 | 0.84 | 13
2017-03-20 | 673 |  |  | 21.7 | 22.6 |  |  |  | 3600 | 9600 | 1190
2017-04-26 | 7805 |  | < 30 | 27.8 | 23.8 |  |  |  | 630 | 1500 | 1190
2017-05-15 | 4556 |  | < 30 | 27.2 | 25.2 |  |  |  | 680 | 3400 | 1190
2017-05-17 | 3214 | 0.51 | 30 | 30.5 | 25.7 | 7.4 | 8.5 | \ | 680 | 34 | 1200 | 158 | 279 | 140 | 338.86 | < 2 | 63.4 | 9.8 | 776 | 2.2 | < 0.1 | 0.32 | \ | < 0.05 | \ | 8 | \ | 95.69 | 24.27 | 5.74 | 134.45 | 0.78 | 14.1
2017-06-14 | 1513 |  | < 30 | 29.4 | 28.6 |  |  |  | 1200 | 1700 | 1120
2017-07-26 | \ | 0.34 | 2 | 33.1 | 29.9 | 7 | 8.1 | \ | \ | \ | 1120 | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \
2017-07-31 | 1727 |  | < 30 | 30 | 29.6 |  |  |  | 5100 | 2100 | 1140
2017-08-28 | 1988 |  | < 30 | 27.8 | 26.4 |  |  |  | 5300 | 4300 | 1180
2017-09-25 | 925 | \ | < 30 | 28.9 | 27.3 | \ | \ | \ | 6000 | 4300 | 1150
2017-10-23 | 2190 | \ | < 30 | 21.7 | 23.9 | \ | \ | \ | 3400 | 6900 | 731
2017-11-08 | 1956 | 0.23 | > 7 | 19.5 | 23 | 7.7 | 8.3 | \ | 487 | \ | 1000 | Arrived at lab out of temp compliance
2017-11-13 | 1893 | \ | < 30 | 22.8 | 20 | \ | \ | \ | 6900 | 13000 | 790
2017-12-11 | 1843 | \ | < 30 | 13.9 | 12.5 | \ | \ | \ | 5100 | 8600 | 863
2018-01-08 | 1769 | \ | < 30 | 11.1 | 12.3 | \ | \ | \ | 3400 | 11000 | 871
2018-02-06 | 1137 | \ | < 30 | 19.4 | 16.8 | \ | \ | \ | 9600 | 20000 | 920
2018-03-05 | 945 | \ | < 30 | 22.8 | 22.8 | \ | \ | \ | 3300 | 13000 | 997
2018-04-09 | 423 | \ | < 30 | 21.1 | 22.1 | \ | \ | \ | 13000 | 30000 | 1020
2018-05-09 | 5938 | \ | < 30 | 25 | 22.7 | \ | \ | \ | 2200 | 5500 | 1090
2018-06-04 | 671 | \ | < 30 | 28.3 | 29.1 | \ | \ | \ | 2200 | 4100 | 1120
2018-07-16 | 1282 | \ | < 30 | 30.6 | 28.3 | \ | \ | \ | 1400 | 2800 | 1060
2018-08-06 | 2307 |  | < 30 | 29.4 | 27.5 |  |  |  | 2600 | 3900 | 1100
2018-09-18 | 3337 | No samples; area too muddy to access
2018-10-10 | 2315 |  | < 30 | 22.8 | 26.4 | \ | \ | \ | 2400 | 9600 | 705
2018-11-13 | 2154 | \ | < 30 | 7.8 | 14.2 | \ | \ | \ | 4500 | \ | 748
2018-11-20 | Razor wire deployed at site - no access
2019-01-07 | 1949 | \ | < 30 | 19.4 | 14.6 | \ | \ | \ | 3200 | 11000 | 817
Average | 1776.5245 |  |  |  | 23.3479 | 8.2772 | 8.1129 |  | 2171.4681 | 3223.8916 |  | 109.8305 | 188.2542 | [5 empty] | 609.0517
Standard |  |  |  |  | 35 | 5 | 6.5 - 9.0 |  | 200 | 126 |  | 200 | 300 | [5 empty] | 1000
Data not QAPP approved

## Sheet2
2006-01-10 | 613.1
2006-02-14 | 866.4
2006-03-15 | 1046.24
2006-04-06 | 1553
2006-04-11 | 1299.65
2006-05-23 | 920.8
2006-06-13 | 26.5
2006-07-12 | 148.5
2006-08-07 | 686.7
2006-10-10 | 980.4
2006-11-13 | 980.4
2006-12-18 | 2419.2
2006-12-19 | 2419.2
2007-01-29 | 1046.24
2007-02-27 | 726
2007-03-20 | 686.7
2007-03-29 | 2419.1
2007-04-12 | 928.8
2007-05-31 | 690
2007-06-12 | 210
2007-07-12 | 390
2007-08-21 | 240
2007-09-13 | 488.4
2007-10-23 | 770.1
2007-11-14 | 648.8
11/29/2007 | 2419.2
2007-12-18 | 2419
2008-01-15 | 1986.28
2008-02-12 | 1732.87
03/17/2008 | 365.4
2008-03-17 | 770.1
2008-04-30 | 1816.4
2008-05-13 | 1986.28
05/29/2008
2008-06-10 | 107.7
07/15/2008 | 22.6
2008-07-15 | 84.2
2008-08-12 | 66.9
11/20/2008 | 600
2008-11-20 | 648.8
2008-12-09 | 344.8
12/18/2008
2009-01-28 | 1083.25
2009-02-18 | 1986.28
2009-03-16 | 2429.2
2009-03-23 | 2419.2
2009-04-15 | 770.1
2009-05-21 | 1119.5
2009-06-22 | 228.2
2009-07-13 | 131
2009-07-14 | 461.1
2009-08-18
2009-09-22 | 1410
2009-10-29 | 1730
2009-11-12
2009-11-24 | 2420
2010-01-25 | 5
2010-02-25 | 1550
2010-03-15 | 580
2010-03-23 | 1700
2010-04-01 | 2400
2010-05-11 | 1600
2010-05-25 | 1400
2010-06-15 | 2400
2010-08-23 | 1046
2010-09-16 | 170
2010-10-18 | 870
2010-11-22 | 440
2010-12-13 | 410
2011-01-19 | 2000
2011-02-28 | 2400
2011-03-24 | 430
2011-04-04 | 2400
2011-05-19 | 2400
2011-05-24
2011-05-25 | 460
2011-06-28 | 1400
2011-07-21 | 1300
2011-08-04 | 150
2011-08-15 | 2600
2011-08-16 | 980
2011-09-26 | 1700
10/11/2011 | 1300
2011-11-17 | 960
2011-11-22 | 2400
2011-12-08 | 2000
2012-01-24 | 2000
2012-02-29 | 2400
2012-03-12 | 400
2012-03-19 | 2400
2012-04-12 | 2400
2012-05-22 | 207.5
2012-05-29 | 490
2012-06-21 | 1100
2012-07-16 | 980
2012-08-07 | 93
2012-08-21 | 440
2012-09-24 | 1203
2012-10-01
2012-11-15 | 2419.5
2012-11-27 | 2400
2012-12-13 | 2400
2013-01-16 | 2400
2013-03-19 | 2400
2013-04-30 | 2400
2013-05-30 | 2400
2013-06-26 | 250
2013-07-23 | 2400
2013-07-24 | 580
2013-09-26 | 1400
2013-10-30 | 2400
2013-11-21 | 2419.2
2014-01-14 | 2400
2014-02-26 | 2400
2014-03-20 | 250
2014-03-26 | 2400
2014-04-29 | 816
2014-05-20 | 2400
2014-06-04 | 148
2014-07-29 | 236
2014-06-30 | 1300
2014-07-28 | 870
2014-08-19 | 870
2014-09-16 | 1600
2014-11-18 | 2000
2014-11-19 | 500
2015-12-17 | 15000
2015-01-20 | 15000
2015-02-18 | 8800
2015-03-16 | 15000
2015-03-25 | 961
2015-04-20 | 11000
2015-05-26 | 8600
2015-06-23 | 21000
2015-07-27 | 7500
2015-08-25
2015-05-18 | 1840
2015-07-22 | 548
2015-09-29 | 2900
2015-10-27 | 7900
2015-11-16 | 12000
2105-11-18 | 280
2015-12-08 | 9300
2016-01-19 | 8900
2016-02-16 | 6200
2016-03-15 | 13010
2016-03-29 | 4600
2016-04-20 | 93000
2016-05-23 | 13000
2016-06-13 | 3600
2016-07-18 | 7500
2016-05-24 | 6867
2016-07-26 | 19
2016-08-30 | 5600
2016-09-27
2016-10-18 | 31000
2016-11-29
2016-11-17 | 1400